## Slide 1: UZV dijagnostika u reprodukcijskoj medicini
Albert Despot

## Slide 2: Trodimenzionalni ultrazvuk
Volume Contrast Imaging - VCI
Tomographic Ultrasound Imaging – TUI
OmniView – curve, polyline
SonoAVC
GE Healthcare ultrasound technology

## Slide 3: The Actors of Human Implantation: Gametes, Embryo, Endometrium
3-D ultrasonography with vocal analysis may inform on the uterine preparation to a constructive dialogue with conceptus through an adequate trophicity and angiogenesis. This point of echographic evaluation opens up new horizons for the evaluation of the endometrium, well beyond the simple measurement of the thickness that improperly corelate with outcome of IVF, since without absolute cutoff.
Virginie Gridelet et al. University of Liege Belgium

## Slide 4: MECHANISMS OF IMPLANTATION: STRATEGIES OF SUCCESSFUL PREGNANCY
Division of Reproductive Sciences, Perinatal Institute, Cincinnati Children's Hospital Medical Center, University of Cincinnati College of Medicine, Cincinnati, Ohio, USA.
  Jeeyeon Cha,
  Xiaofei Sun &
  Sudhansu K Dey
About 75% of failed pregnancies from fertilization to parturition are considered to be due to implantation failure

## Slide 5: The Actors of Human Implantation: Gametes, Embryo, Endometrium
In practice less than 5% of oocytes colected in vitro fertilization (IVF) cycles and only 20 to 25% of embryos transferred lead to birth and take-home baby.
Virginie Gridelet et al. University of Liege Belgium

## Slide 6: The Actors of Human Implantation: Gametes, Embryo, Endometrium
The success of pregnancy depends of receptive endometrium, a normal blastocyst, a synchronized cross-talk at the maternal- fetal interface at the time of implantation, and finally a successeful plancetation and remodeling of uterine vasculature.
Virginie Gridelet et al. University of Liege Belgium

## Slide 7: The Actors of Human Implantation: Gametes, Embryo, Endometrium
The window of implatation is a limited time span when blastocyst competency is superimposed on the receptive state of uterus.
The window of receptivity is transient in humans, and implatation beyond this window results in:
spontaneous miscarriages
preeclampsia
preterm birth
Virginie Gridelet et al. University of Liege Belgium

## Slide 8: The Actors of Human Implantation: Gametes, Embryo, Endometrium
Implantation process is not easily accessible in vivo to
research for obvious ethical and tehnical reasons.
The only way to evaluate it is to extend data derived from:
Animal studies
In vivo endometrium studies (ultrasound ... etc)
Embryo separatly studies
In vitro endometrium – early blastocyst culture
Virginie Gridelet et al. University of Liege Belgium

## Slide 9: The Actors of Human Implantation: Gametes, Embryo, Endometrium
Despite extensive research in this field,
the implantation process remains the black box of
the reproduction, even in 2013.
Virginie Gridelet et al. University of Liege Belgium

## Slide 10: Normal thickness of uterine lining
During menstruation: 2-4 mm
Early proliferative phase: 5-7 mm
Preovulatory phase: up to 11 mm
Secretory phase: 7-16 mm
Postmenopause: up to 5 mm
2D measurements

## Slide 11
Za implataciju iz „in vivo“ ili „in vitro“ fertilizacije potrebna je idealna anatomija i fiziologija:
Sekrecijski promjenjenog endometrija
Miometrija
Uterinog protoka

## Slide 12
Endometrij u dvodimenzionalnom i trodimenzionalnom ultrazvučnom prikazu
2D - uzdužno
3D - koronarno

## Slide 13
Endometrij u dvodimenzionalnom i trodimenzionalnom ultrazvučnom prikazu
2D - uzdužno
3D - koronarno

## Slide 14
Koronarni presjek endometrija

## Slide 15: Volumen “implatacijskog” endometrija
a
c
l

## Slide 16: Volumen “implatacijskog” endometrija
d....debljina endometrija u uzdužnom
presjeku (2D)
Pc...površina endometrija u koronarnom
presjeku (3D) – jednakokračni trapez
l = konstanta: 1,5cm

## Slide 17: Energetski potencijal implatacijskog endometrija
EATP = Mguk x 36
EATP = Vie x Cguk(mm3) x 36
Mguk = masa glukoze
Mguk = Vie x Cguk(mm3)
(3D UZV)
Cguk(mm3) = koncetracija glukoze u mol/mm3 i.e.
1 mol. guk. = 36 ATP

## Slide 18: Sterilitet - 43. god. - 18. dan ciklusa Stanje poslije 8 x IVF
Vie = cca 660 mm3

## Slide 19: Sterilitet - 39 god. - 20. dan MC Stanje poslije 5 x IVF
Vie = cca 760 mm3

## Slide 20: Mullerian anomalies classification
Class I – Mullerian agenesis
Class II – Unicornuate uterus 20%
Class III – Uterus didelphys 5%
Class IV - Bicornuate uterus 10%
Class V – Septate uterus 55%
Class VI – Arcuate uterus
Class VII - DES uterus
Human Reproduction Update 2011; 17(6): 761-771

## Slide 21: Chan YY, Jayprakasan K, Zamora J, Thornton JG, Raine-Fenning N, Coomarasamy A
The prevalence of congenital uterine anomalies in
unselected and high-risk population: a systematic review
Human Reproduction Update 2011; 17(6): 761-771

## Slide 22
Human Reproduction Update 2011; 17(6): 761-771
Opća populacija 5.5%
Infertilitet 8.0%
Spontani pobačaji 13.3%
Habitualni pobačaji 24.5%
94 studije
89861 žena

## Slide 23
OmniView trace
Ultrasound art
Uterus – 2D
Uterus – 3D

## Slide 24
OmniView trace
Septate uterus
Ultrasound art
Uterus – 2D
Uterus – 3D

## Slide 25: Uterus septatus 12.1 : 29.3 = 0.41 = 41% = septum uteri

## Slide 26
Incomplete uterine septum
13.7 : 28 = 0.4892 = 48.92%

## Slide 27
10 : 30.3 = 0.33 = 33%
11.3 : 33.7= 0.335 = 33.5%
Septum uteri VCI
Septum 3D classic

## Slide 28: Uterus bicornis

## Slide 29
Unicornuate uterus
2D
VCI

## Slide 30: Uterus didelphys
2D
3D

## Slide 31: Complete uterine septum

## Slide 32: St. post op. septi uteri Complete uterine septum

## Slide 33
St. post
op. septi uteri
Complete uterine septum

## Slide 34
2D thickness measurement is not indicator for assessment of endometrial receptivity.

## Slide 35
3D volume measurement is indication for assessement of endomertial receptivity and it's energy storage.

## Slide 36: Adenomyosis uteri
2D ULTRASOUND

## Slide 37: Adenomyosis Tomographic Ultrasound Imaging – TUI
coronary
transverse
3D ULTRASOUND

## Slide 38: Adenomyosis
3D ULTRASOUND

## Slide 39: Tomographic Ultrasound Imaging – TUI
Adenomyosis

## Slide 40
Adenomyosis

## Slide 41
SonoAVC folikulometrija

## Slide 42
SonoAVC folikulometrija

## Slide 43
SonoAVC folikulometrija

## Slide 44
SonoAVC folikulometrija

## Slide 45
SonoAVC - PCOS

## Slide 46
SonoAVC
PCOS

## Slide 47
SonoAVC
PCOS

## Slide 48
TRODIMENZIONALNI ULTRAZVUK

## Slide 49
dvoDIMENZIONALNI color doppler
RESISTANCE INDEX

## Slide 50
Praktična primjena trodimenzionalnog ultrazvuka u ginekologiji i opstetriciji Practical application of 3D ultrasound in gynecology and obstetrics
3D ultrasound education - II
Opatija , Grand Hotel 4 opatijska cvijeta
09. – 10. svibnja 2014.

## Slide 51
1. Hrvatski kongres o naprednom ultrazvuku u ginekologiji i opstetriciji
Poreč , Hotel Parentium
09. – 12. listopada 2014.
Nove dimenzije, nove tehnologije i novi software-i

## Slide 52
In vivo fertilization
St. post 17 x in vitro fertilization
Schrödingerova superpozicija
Heisenbergov princip neodređenosti
Kvantna fizika